BAL Cell Processing

Notes:

- BAL will be immediately transported on ice to the lab.

- Aliquot BAL in a biosafety cabinet (hood).

- Record volume received.

- Filter the raw sample through a BD Falcon 100 micron cell strainer (BD #352360) into a 50mL conical tube (BD Falcon #352098). Record post-filter volume. Note: The sample only needs to be filtered once, but more than 1 filter may be necessary due to the particulate matter or mucous in the sample.

- Centrifuge at 900 X g for 10 minutes.

- Aliquot BAL fluid without cells in 1.8mL cryotubes with blue cap insert (Nunc# 5045-0003) and store BAL at -80°C

- Resuspend pellet in 5mL ACK RBC lysis buffer (Gibco #A10492).

- Incubate at room temperature for 2 minutes then add 10mL of 1X DPBS (Cellgro #21-031-CV).

- Centrifuge at 900 X g for 10 minutes.

- If needed, repeat the RBC lysis, steps 5-7.

- Resuspend the cells in 1-3mL of 1X DPBS, depending on size of cell pellet.

- Count cells and assess viability by diluting 10μl of sample with 90μl trypan blue (VWR #45000-717) and applying 10μl of the dilution to a hemacytometer.

- Count all of the cells in the 4 quadrants then divide that number by 4. Multiply that number by 104 to calculate how many cells there are per mL. Multiply that number by the total volume (1-3mL) to calculate the total number of cells in the 1-3mL of cell suspension. An automated cell counter can also be used, if available. Record total cells, live cells, and % live cells

- Create cell pellets by aliquoting the remaining cells, preferably in 1-2x106 cell aliquots.

Cell Pellets:

- Aliquot appropriate volume of cells into 1.8mL cryotubes and centrifuge at 900 X g for 10 minutes to pellet the cells.

- Aspirate off the media and discard.

- Immediately freeze the pellets and store at -80°C.